**BMC PIU IsoPod Instructions**

1. Remove the following parts from the bag

IsoPod

4 plastic rods

3 filters

1 battery pack

Blower unit

1. Open the Iso Pod and place on a stretcher
2. Attach the blower unit to the labeled port at the foot of the IsoPod
3. Attach the filters

2 at the head

1 inside the pod at the blower unit

1. Close the valve at the foot
2. Place the patient in the unit
3. Connect the ribs across the unit (6 in total)
4. Insert the plastic rods lengthwise between the ribs
5. Turn on the blower
6. Zip up the unit

**Video Instructions can be viewed at** [**https://www.youtube.com/watch?v=hnFcZmWutZI**](https://www.youtube.com/watch?v=hnFcZmWutZI)